## Slide 1
RELIABLE CARE FOR EVERY BREATH
Vetnoux Usability

## Slide 2
Study details
15 US citizens RT’s with experience varying from 9 to 42 years
Participants were given the following tasks:
  Hand-on tasks of setting up, basic operation and ventilation
  Identifying buttons and indicators
  Extracting relevant data from the labeling material (operating manual)
  Answering subjective data collection open questions

## Slide 3
Study highlights
When asked about overall impression and comparison to other similar devices:
“It has everything I need to see on the main screen. It will be easy for anyone to use. Nothing confusing – self-explanatory see + touch”
“This had a better set up as far as where information is. I like the way the modes set up – everything to set shows up – no guessing or remembering what to set“
“This is more sophisticated than what I’ve used. I like the screen set up
All info is on the front screen, this is important. I like that I don’t have to go to several screens to get primary information”
“The vent was easy to use, much easier than Servo”
“Similar to Drager and Hamilton”
"Easy to use, I like no menus deeper and deeper. Screen arranged well”